|  | Assessment Record |
| --- | --- |

| Program: | Physical Plant | Assessment period: | 2017-2018 |
| --- | --- | --- | --- |

Program or Department Mission: The primary purpose of Physical Plant Operations is to provide an attractive, clean, and safe physical environment conducive to achieving the stated purposes of the college.

| Service Unit Outcomes & Assessment Plan |
| --- |
| Intended Outcomes | Means of Assessment | Criteria for Success | Summary & Analysis of Assessment Evidence | Use of Results |
| A plan for the upkeep of college property, which addresses routine, preventive, and deferred maintenance is developed and implemented. | Review maintenance records of routine and preventive actions. | Complaints from faculty, staff, and students will be kept to a minimum on maintenance related issues. | GLB cooling tower is in need of replacement. GLB Chiller #1 no longer works and is not cost effective to repair. An increase in roof leaks and repairs to LWH indicate the need for a new roof. An increasing number of roof leaks on the George Layton building indicate the need for a new roof. Some repairs have been made to decks with aging issues on FSC decks. FSC cooling towers badly deteriorated and need replacing. Engineers have prescribed repairs to correct improperly installed precast soffits discovered earlier on the GSB on the Shelby/Hoover campus. Certain parking lots and streets on campus have been identified as needing resurfacing. The need for a cooling tower replacement has been identified for the GWH building. Grounds/Ag building roof needs replacing. Constant leaks and repair cost are determining factor. | New cooling tower has been purchased and is scheduled for replacement. Contract to replace chiller was accepted. (awaiting start date) Replacement of roof will be done as funding allows. Roof replacement is planned for this year pending approval. Plans for additional repairs are being made as needed to the FSC decks. One tower has been purchased and is scheduled for replacement. Plans to purchase and install 2nd tower before spring are in place. Plans to begin repairs on GSB are in place as funding allows. Several areas were identified as needing repair. The entrances by GLB, security and an area at the bus stop were repaired. Other repairs are planned. Cooling tower installation has been completed. Contract to replace roof has been accepted. Roof will be replaced. |
| The unit will ensure that safe, attractive and accessible facilities, adequate and appropriate for the operation of the college, are provided. | Inspection of facilities and complaints from the college community | Complaints from faculty, staff, and students are kept to a minimum, while receiving compliments from visitors and students | Aesthetic and physical repair projects were identified this past year. Windows in Manufacturing building showing signs of deterioration and problems with leaks. Windows need to be replaced. The need for aesthetics in enrollment services and financial aid to be updated have been identified. GLB aesthetic upgrades are needed. The need for more maintenance personnel has been identified due to the ever increasing aesthetic needs. | Repainting of classrooms, hallways, stairwells, offices and other areas are ongoing. Plans to start replacing windows are in place. Windows will be done in phases due to the expense. Aesthetic upgrades, such as ceiling tile, lights, painting, and general remodeling of these areas. Enrollment is currently under construction and Financial Aid is scheduled to begin when Enrollment is completed. GLB aesthetic upgrades are not complete but are continuing. Bio Med is currently being renovated. Aesthetics campus wide would be improved by the hire of a painter. A new position has been posted for hire. |
| The unit will effectively respond to emergency and short-notice maintenance issues that threaten interruption of college functions. | All emergencies and short-notice maintenance issues are reported to the maintenance department. | No classes or college functions cancelled due to emergency or short-notice maintenance issues | Emergency and short-notice maintenance issues have been successfully responded to and resolved. | No classes or functions have been canceled due to maintenance issues this year. |
| The unit will assist other areas in renovation planning, budgeting and implementation to accommodate changing needs. | The Maintenance Director meets with cost center heads, contractors, appropriate dean, and budget planners to accommodate the need of keeping all areas up to date in technology and aesthetics | The maintenance department will complete approved projects in a timely manner. | A need for the development of an additional welding lab was identified. The need for a Respiratory Therapy program was identified. | Assessments are being completed for Shelby Campus. A place was found to accommodate this need. Aesthetic improvements were done to improve the look and to provide storage. |
| The college will achieve compliance with all local, state, and federal safety/health regulations as required. | Inspectors from the state department of labor, fire inspectors, and other local inspectors notify the maintenance department of any deficiencies. | The college will have no violations from authorities having jurisdiction over health/safety regulations | Elevator, boiler, fire, and grease trap inspectors notify the maintenance department of any deficiencies. | All deficiencies reported after inspections were corrected. |
| The college will make efforts to use energy resources in the most effective manner. | The maintenance department is vigilant in monitoring energy uses | Reducing total energy costs or maintaining them at a level of no increase | Plans are being formulated for future updating of HVAC controls, as well as LED lighting, to ensure comfort and energy saving. | GSB 2nd floor was completed, 3rd floor is planned for this year. Plans are in place to continue updating controls and LED lighting. |
| Plan submission date: | Submitted by: |