|  | Assessment Record |
| --- | --- |

| Program: | Physical Plant | Assessment period: | 2018-2019 |
| --- | --- | --- | --- |

Program or Department Mission: The primary purpose of Physical Plant Operations is to provide an attractive, clean, and safe physical environment conducive to achieving the stated purposes of the college.

| Service Unit Outcomes & Assessment Plan |
| --- |
| Intended Outcomes | Means of Assessment | Criteria for Success | Summary & Analysis of Assessment Evidence | Use of Results |
| A plan for the upkeep of college property, which addresses routine, preventive, and deferred maintenance is developed and implemented. | Review maintenance records of routine and preventive actions. | Complaints from faculty, staff, and students will be kept to a minimum on maintenance related issues. | GLB cooling tower is in need of replacement. GLB Chiller #1 no longer works and is not cost effective to repair. An increase in roof leaks and repairs to LWH indicate the need for a new roof. An increasing number of roof leaks on the George Layton building indicate the need for a new roof. Some repairs have been made to decks with aging issues on FSC decks. FSC cooling towers badly deteriorated and need replacing. Engineers have prescribed repairs to correct improperly installed precast soffits on GSB discovered earlier on the Shelby/Hoover campus. Certain parking lots and streets on campus have been identified as needing resurfacing. | New cooling tower has been installed and is in operation New chiller installation is complete and the unit is currently in service. Replacement of roof will be done as funding allows. Installation of the new roof is scheduled to start 9/16/19. Plans for additional repairs are being made as needed to the FSC decks. Cooling towers 1 & 2 have both been installed and are operational. Repairs are currently being performed. The parking lots at Manufacturing technologies were repaired, seal coated, and restriped. Other parking lots at Pell City, Shelby, and Clanton are being restriped. |
| The unit will ensure that safe, attractive and accessible facilities, adequate and appropriate for the operation of the college, are provided. | Inspection of facilities and complaints from the college community | Complaints from faculty, staff, and students are kept to a minimum, while receiving compliments from visitors and students | Aesthetic and physical repair projects were identified this past year. Windows in Manufacturing building showing signs of deterioration and problems with leaks. Windows need to be replaced. The need for aesthetics in enrollment services and financial aid to be updated have been identified. Exterior renovations at Allen Library have been identified. | Repainting of classrooms, hallways, stairwells, offices and other areas are ongoing. Plans to start replacing windows are in place. Windows will be done in phases due to the expense. The renovation of Enrollment and Financial Aid has been completed and is now in service. Renovations are scheduled to begin October 1. |
| The unit will effectively respond to emergency and short-notice maintenance issues that threaten interruption of college functions. | All emergencies and short-notice maintenance issues are reported to the maintenance department. | No classes or college functions cancelled due to emergency or short-notice maintenance issues | Emergency and short-notice maintenance issues have been successfully responded to and resolved. | No classes or functions have been canceled due to maintenance issues this year. |
| The unit will assist other areas in renovation planning, budgeting and implementation to accommodate changing needs. | The Maintenance Director meets with cost center heads, contractors, appropriate dean, and budget planners to accommodate the need of keeping all areas up to date in technology and aesthetics | The maintenance department will complete approved projects in a timely manner. | A need for the development of an additional welding lab was identified. | Bids were accepted for the project and have been sent for review by the board at this time. |
| The college will achieve compliance with all local, state, and federal safety/health regulations as required. | Inspectors from the state department of labor, fire inspectors, and other local inspectors notify the maintenance department of any deficiencies. | The college will have no violations from authorities having jurisdiction over health/safety regulations | Elevator, boiler, fire, and grease trap inspectors notify the maintenance department of any deficiencies. | All deficiencies reported after inspections were corrected. |
| The college will make efforts to use energy resources in the most effective manner. | The maintenance department is vigilant in monitoring energy uses | Reducing total energy costs or maintaining them at a level of no increase | Plans are being formulated for future updating of HVAC controls to ensure comfort and energy saving. With the current lighting being outdated and the energy efficiency of LED lighting it is our plan to begin converting to LED’s. | GSB 3rd floor controls have been completed. The 1st floor controls in HSB are being replaced currently. Plans are in place to continue updating HVAC controls. To keep on track with the recent renovations to Allen Library, LED lights are being ordered to complete the rest of the building. |
| Plan submission date: 9/25/19 | Submitted by: Perry L. Harris |